## Sheet1
DOI (DOI of manuscript being referenced) | Sample device and deployment methods (type and size of sample device used and how it was deployed) | Digestion (type of digestion used in preprocessing, if any) | Filtration (what type of filtration used) | Filter Size (size or sizes of filter(s)) | Microplastic Identification Method (type(s) of identification used, e.g. visual, flourescent, SEM (scanning electron microscoscopy), light microscopy) | Spectral Analysis (type of spectral analysis used in study, if any, e.g. GC/MS, FTIR, Raman) | Controls (type of controls used, if applicable)
10.1021/acs.est.9b06672 | Literature review | N/A | Gold coated polycarbonate; cellulose nitrate membrane; glass fiber filter; Whatman cellulose fiber | 0.45 mm; 5 um,;2.5 um; 1.5 um; 0.4 um; 0.2 um | Nile red; dissection microscope; SEM | Raman; FTIR | N/A
10.1016/j.watres.2017.11.011 | Pre packaged bevarage cartons | N/A | polycarbonate filter | 3 um | Single Particle Explorer (SPE, rapID, Berlin) | Raman | Blank filters run through Raman
10.1039/c6ay01184e | Pre packaged bevarage cartons | N/A | Cellulose nitrate | 0.45 um | Raman scattering spectroscopy | Raman | Already analyzes sample filtered a second time and analyzed again; additional moistened filter placed in laminar flow box during filtration
10.3389/fchem.2018.00407 | Pre packaged bevarage cartons | N/A | Glass fiber | 1.5 um | Nile red; visual | FTIR | DI procedural blanks
10.1371/journal.pone.0194970 | Tap water, beer | N/A | Whatman cellulose fiber | 2.5 um | Rose Bengal stain; visual | FTIR | DI procedural blanks
10.1016/j.sciotenv.2018.08.178 | Drinking water from ground water sources both at drinking water plant outlet and at customer households | N/A | Stainless steel | 3 um | Stereo light microscope; FTIR Imaging | FTIR | Filtered drinking water procedural blanks; Mili-Q/Ethanol
10.1016/j.sciotenv.2018.08.102 | Tap water | Wet peroxide oxidation | Polytetraflouroethylene (PTFE) membrane filters | 0.2 um; 5 um | SEM | FTIR | HPLC grade water procedural blanks
http://dce2.au.dk/pub/SR291.pdf | Tap water | N/A | Steel filters | 20 um | Stereomicroscopy; FTIR imaging | FTIR | 5 procedural blanks
10.1016/j.hazmat.2021.125708 | Drinking water from treatment facilities | Wet peroxide oxidation | Fiberglass filters | 0.7 um | GCMS Pyrolysis | GCMS Pyrolysis | 6 procedural blanks; filtered Mili-Q
10.1016/j.chemosphere.2021.131881 | Spiked tap water | N/A | polycarbonate filter | 10 um | Stereomicroscopy | Raman | Field blanks
10.1016/j.cej.2018.11.155 | Spiked tap water | N/A | N/A | N/A | CCD camera to capture flocs | N/A | N/A
10.1016/j.chemosphere.2021.132587 | Drinking water from treatment facilities | KOH | polycarbonate filter | 10 um | Visual | Raman | Field blanks; procedural blanks
10.1186/s43591-022-00030-6 | Literature review | N/A | N/A | N/A | N/A | N/A | N/A
10.1016/j.watres.2020.11.6519 | Drinking water from treatment facilities | Density separation with sodium polytungstate | Stainless steel; fibreglass | 5 um; 0.7 um | FTIR microscopy | FTIR; Py-GCMS | One blanks at each lab station; laminar flow bench
10.1007/s11270-022-05649-y | River surface water (0-10 cm) | N/A | Cellulose membrane | 10 um; 0.22 um | N/A | N/A | N/A
10.1016/j.scitotenv.2021.152623 | Spiked drinking water | N/A | Granular activated carbon filter | N/A | NanoSight LM14; DLS; SEM | N/A | N/A
10.18520/cs/v117/i11/1874-1879 | Surface water; groundwater; commercial drinking water | N/A | Whatman cellulose fiber | 0.45 um | SEM; EDX | FTIR | N/A
10.1016/j.scitotenv.2021.150545 | Drinking water from treatment facilities | N/A | Stainless steel; PTFE membrane filters | 10 um; 5 um; 0.45 um |  | Raman | Positive and negative lab controls